## Config. Summary
CRAY INC – SHASTA GAMORA RIVER MANAGEMENT CABINET WITH HILL
Cluster |  |  | Asset Number: | Storage |  | Asset Number:
|  |  | 10011204 |  |  | 10011340
Agile Opportunity ID: |  |  |  | Agile Opportunity ID: |  | Filesystem Name:
106395-83 |  |  |  | 107608-2
Quote Number: |  | Version: |  | PO | Version:
25693 |  | 1 |  | 62078, 62079, 62082, 62123, 62128 |  |  | TRUE
Sales Enablement: |  |  | Installation Project Manager:
Grace Coleman |  |  | Tony Yeo
Project Description
Development System to help with Shasta software.
Revision History
Date | Description |  |  |  |  | Modifier | Revision | ECO#
2019-04-30 | All of Coke's hardware is moving to a new cabinet. Added cable connections to make this a preview type system. System will eventually get multiple Columbia switches. |  |  |  |  | Scott Alne | A1
2019-04-30 | Added the HSN point-to-point connections to the 200G tab |  |  |  |  | Jan Heath | A2
2019-06-07 | Added the HSN point-to-point connections for the 5-switch configuration |  |  |  |  | Scott Alne | A3
2019-06-11 | Added Gamora to this rack |  |  |  |  | Scott Alne | A4
2019-06-17 | Updated MGMT1 tab show TDS to River connections |  |  |  |  | Scott Alne | A5
2019-07-01 | Shasta "Gamora" River Management Cabinet with connected Hill cabinet HSN Rev A7 |  |  |  |  | Michael Vera | A7
2019-06-18 | Updated 200G tab to show Gamora getting hooked up to a Hil cabinet. |  |  |  |  | Scott Alne | A6
2019-09-05 | Gamora moving to a new rack as a V2 9 NCN (Gigabyte) system |  |  |  |  | Scott Alne | B1
2019-09-12 | Added Hill to River connections in HMN tab |  |  |  |  | Scott Alne | B2
2019-09-17 | Replaced Dell S3048 switch with a Dell S4048 switch Wired Spine switch mgmt ports into dell switch, connection is shown in HMN tab |  |  |  |  | Scott Alne | B3
2019-11-25 | UAN added to system |  |  |  |  | Scott Alne | B4
2019-12-02 | Showing CAN connection to Dell switch in NMN tab |  |  |  |  | Scott Alne | B5
2019-12-11 | HSN recabled |  |  |  |  | Scott Alne | B6
2020-05-18 | Replacing Intel computes with Gigabyte computes |  |  |  |  | Scott Alne | B7
2020-05-19 | Cabling changes to spine switches |  |  |  |  | Scott Alne | B8
2020-06-09 | Updated HMN Tab as requested by SW |  |  |  |  | Scott Alne | B9
2020-06-10 | Moved HMN table to start at J16 |  |  |  |  | Scott Alne | B10
2020-06-11 | Fixed table in HMN tab |  |  |  |  | Scott Alne | B11
2020-07-20 | Added PDU to HMN tab |  |  |  |  | Scott Alne | B12
2020-08-07 | Removed mgmt connections from spine and leaf switches |  |  |  |  | Scott Alne | B13
2020-08-24 | Added second CAN connection |  |  |  |  | Scott Alne | B14
2021-05-26 | Changed to Shsata 1.4 requirements. |  |  |  |  | Mark Bowe | B15
2021-06-04 | Added Gigabyte Computes |  |  |  |  | Mark Bowe | B16
2021-06-04 | Added cls01090 |  |  |  |  | Mark Bowe | B17
2021-06-29 | Added more cls01090 cables |  |  |  |  | Mark Bowe | B18
2021-06-30 | Changed the pt to pt to update Clusterstor info |  |  |  |  | Mark Bowe | B19
2021-07-27 | Changed names for Shasta Software. |  |  |  |  | Mark Bowe | B20
2021-08-16 | Removed all of the Hill info. |  |  |  |  | Mark Bowe | B21
2021-08-18 | Removed the Hill to River connections. |  |  |  |  | Mark Bowe | B22
2021-09-15 | Fixed the PT to PT file. |  |  |  |  | Mark Bowe | B23
2021-04-13 | * Create right hand blocks of data for 40G_10G and NMN tabs. * Enhance existing right hand blocks for HMN tab. * Create label (left hand block) formulas to map from new right block (was missing in HMN anyway). * New common names used. * Site connection on 40G_10G tab was mixed up. * Removed wn02 onboard port 2 connection in NMN tab. Not used. Not sure possible. * canu, version 1.5.1~develop * canu validate shcd -a v1 --shcd Cray\ Inc\ -\ Gamora\ B25.xlsx --tabs 40G_10G,NMN,HMN --corners J10,R36,J13,R27,J20,T37 |  |  |  |  | Sean Lynn | B25
2021-04-13 | * Fixed line 34 columns O and P with the correct slot and port number on the HMN tab. * canu validate shcd -a v1 --shcd Cray\ Inc\ -\ Gamora\ B26.xlsx --tabs 40G_10G,NMN,HMN --corners J10,R36,J13,R27,J20,T37 |  |  |  |  | Graham Paasch | B26

## Rack_Layout
REAR VIEW | [10 empty] | REAR VIEW
| RACK#01 | [5 empty] | RACK#01
| CS-R42U-600-1200-AR3300 | [5 empty] | CS-R42U-600-1200-AR3300
42 |  |  |  | 42 | ^^^^ Physical ^^^^ | 42 |  |  |  | 42
41 |  |  |  | 41 |  | 41 |  |  |  | 41
40 |  |  |  | 40 |  | 40 |  |  |  | 40
39 |  |  |  | 39 |  | 39 |  |  |  | 39
38 |  |  |  | 38 |  | 38 |  |  |  | 38
37 |  |  |  | 37 |  | 37 |  |  |  | 37
36 |  |  |  | 36 |  | 36 |  |  |  | 36
35 |  |  |  | 35 |  | 35 |  |  |  | 35
34 |  |  |  | 34 |  | 34 |  |  |  | 34
33 |  |  |  | 33 |  | 33 |  |  |  | 33
32 |  |  |  | 32 |  | 32 |  |  |  | 32
31 |  |  |  | 31 |  | 31 |  |  |  | 31
30 |  |  |  | 30 |  | 30 |  |  |  | 30
29 |  |  |  | 29 |  | 29 |  |  |  | 29
28 |  |  |  | 28 |  | 28 |  |  |  | 28
27 | PN 102261800 x3000u26 |  |  | 27 |  | 27 | PN 102261800 UAN |  |  | 27
26 |  |  |  | 26 |  | 26 |  |  |  | 26
25 |  |  |  | 25 |  | 25 |  |  |  | 25
24 | (SH-XSS-200G-64P) x3000u24 |  |  | 24 |  | 24 | (SH-XSS-200G-64P) sw-hsn01 |  |  | 24
23 | CS-XGE40-MLNX-2100-16 sw-smn02 | CS-XGE40-MLNX-2100-16 sw-smn03 |  | 23 |  | 23 | CS-XGE40-MLNX-2100-16 sw-smn02 | CS-XGE40-MLNX-2100-16 sw-smn03 |  | 23
22 | (XC-XGT-48P-DL2) x3000u22 |  |  | 22 |  | 22 | (XC-XGT-48P-DL2) sw-smn01 |  |  | 22
21 |  |  |  | 21 |  | 21 |  |  |  | 21
20 | x3000u20L | x3000u20R |  | 20 | ^^^^ Logical ^^^^ | 20 | nid000003 | nid000001 |  | 20
19 | x3000u19L | x3000u19R |  | 19 |  | 19 | nid000004 | nid000002 |  | 19
18 | PN 102261803 x3000u17 |  |  | 18 |  | 18 | PN 102261803 sn03 |  |  | 18
17 |  |  |  | 17 |  | 17 |  |  |  | 17
16 | PN 102261803 x3000u15 |  |  | 16 |  | 16 | PN 102261803 sn02 |  |  | 16
15 |  |  |  | 15 |  | 15 |  |  |  | 15
14 | PN 102261803 x3000u13 |  |  | 14 |  | 14 | PN 102261803 sn01 |  |  | 14
13 |  |  |  | 13 |  | 13 |  |  |  | 13
12 | PN 102261800 x3000u11 |  |  | 12 |  | 12 | PN 102261800 wn03 |  |  | 12
11 |  |  |  | 11 |  | 11 |  |  |  | 11
10 | PN 102261800 x3000u09 |  |  | 10 |  | 10 | PN 102261800 wn02 |  |  | 10
09 |  |  |  | 09 |  | 09 |  |  |  | 09
08 | PN 102261800 x3000u07 |  |  | 08 |  | 08 | PN 102261800 wn01 |  |  | 08
07 |  |  |  | 07 |  | 07 |  |  |  | 07
06 | PN 102261700 x3000u05 |  |  | 06 |  | 06 | PN 102261700 mn03 |  |  | 06
05 |  |  |  | 05 |  | 05 |  |  |  | 05
04 | PN 102261700 x3000u03 |  |  | 04 |  | 04 | PN 102261700 mn02 |  |  | 04
03 |  |  |  | 03 |  | 03 |  |  |  | 03
02 | PN 102261700 x3000u01 |  |  | 02 |  | 02 | PN 102261700 mn01 |  |  | 02
01 |  |  |  | 01 |  | 01 |  |  |  | 01
| pdu1-0 |  | pdu1-1 |  |  |  | pdu1-0 |  | pdu1-1
| CS-ST-PDU-208V-3PD-60A-36 | [5 empty] | CS-ST-PDU-208V-3PD-60A-36
Gigiabyte Compute

## Device Diagrams
Kubernetes Master Node (MN) SH-SVR-1264-UP (Gigabyte R272-Z30) PN 102261700
SATA/NVME DRIVE POPULATION
| PS2 | [5 empty] | Rear Drive Slot 0 |  | Rear Drive Slot 1
[33 empty] | 40g01 j1 |  |  | PHYSICAL DRIVE SLOT#
[36 empty] | 0 |  | 1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
[33 empty] | 40g02 j2 | [12 empty] | SATA SSD 480GB | SATA SSD 480GB | SATA SSD 480GB
PS1
40G
[11 empty] | COM |  |  |  | MGT J3 |  | lan01 j1
[19 empty] | PCI | 7 |  | 6 |  |  | 5 |  | 4 |  | 3 |  | 2 |  | 1
[11 empty] | Video |  | OCP2.0 Slot G3x16 |  | USB3 |  | lan02 j2 | USB2 |  | Gen4x16 (MESA Riser Slot) |  | Gen4x16 |  |  | Gen4x8 |  | Gen4x16 |  | Gen4x16 |  | Gen3x8 shares b/w slot 1 |  | Gen3x16 runs x8 w/slot 2 in
USB3
Kubernetes Worker Node (WN) SH-SVR-1264-UP (Gigabyte R272-Z30) PN 102261800
SATA/NVME DRIVE POPULATION
| PS2 | [5 empty] | Rear Drive Slot 0 |  | Rear Drive Slot 1
[27 empty] | 100g01 j1 |  | 100g01 j1 |  |  |  | 40g01 j1 |  |  | PHYSICAL DRIVE SLOT#
[36 empty] | 0 |  | 1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
[33 empty] | 40g02 j2 | [12 empty] | SATA SSD 480GB | SATA SSD 480GB | SATA SSD 1.92TB
PS1
[27 empty] | 100G |  | 100G |  |  |  | 40G
[11 empty] | COM |  |  |  | MGT J3 |  | lan01 j1
[19 empty] | PCI | 7 |  | 6 |  |  | 5 |  | 4 |  | 3 |  | 2 |  | 1
[11 empty] | Video |  | OCP2.0 Slot G3x16 |  | USB3 |  | lan02 j2 | USB2 |  | Gen4x16 (MESA Riser Slot) |  | Gen4x16 |  |  | Gen4x8 |  | Gen4x16 |  | Gen4x16 |  | Gen3x8 shares b/w slot 1 |  | Gen3x16 runs x8 w/slot 2 in
USB3
Kubernetes Storage Node (SN) SH-SVR-1264-UP (Gigabyte R272-Z30) PN 102261803
SATA/NVME DRIVE POPULATION
| PS2 | [5 empty] | Rear Drive Slot 0 |  | Rear Drive Slot 1 | [15 empty] | CS-TB-RAID-PCIE-CRA3338
[33 empty] | 40g01 j1 |  |  | PHYSICAL DRIVE SLOT#
[36 empty] | 0 |  | 1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
[33 empty] | 40g02 i2 |  |  | SATA SSD 1.92TB |  | SATA SSD 1.92TB |  | SATA SSD 1.92TB | SATA SSD 1.92TB | SATA SSD 1.92TB | SATA SSD 1.92TB | SATA SSD 1.92TB | SATA SSD 1.92TB | SATA SSD 1.92TB | SATA SSD 1.92TB | SATA SSD 1.92TB | SATA SSD 1.92TB
| PS1 | [34 empty] | Two Rear DRIVE SLOT#
[33 empty] | 40G |  |  | 0 |  | 1
[11 empty] | COM |  |  |  | MGT J3 |  | lan01 j1
[19 empty] | PCI | 7 |  | 6 |  |  | 5 |  | 4 |  | 3 |  | 2 |  | 1 |  |  | SATA SSD 480GB |  | SATA SSD 480GB
[11 empty] | Video |  | OCP2.0 Slot G3x16 |  | USB3 |  | lan02 j2 | USB2 |  | Gen4x16 (MESA Riser Slot) |  | Gen4x16 |  |  | Gen4x8 |  | Gen4x16 |  | Gen4x16 |  | Gen3x8 shares b/w slot 1 |  | Gen3x16 runs x8 w/slot 2 in
USB3
Login Node (LN) SH-SVR-1264-UP (Gigabyte R272-Z30) PN 102261801
SATA/NVME DRIVE POPULATION
| PS2 | [5 empty] | Rear Drive Slot 0 |  | Rear Drive Slot 1
[27 empty] | 100g01 j1 |  | 100g01 j1 |  |  |  | 40g01 j1 |  |  | PHYSICAL DRIVE SLOT#
[36 empty] | 0 |  | 1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
[33 empty] | 40g02 j2 | [12 empty] | SATA SSD 480GB | SATA SSD 480GB
PS1
[27 empty] | 100G |  | 100G |  |  |  | 40G
[11 empty] | COM |  |  |  | MGT J3 |  | lan01 j1
[19 empty] | PCI | 7 |  | 6 |  |  | 5 |  | 4 |  | 3 |  | 2 |  | 1
[11 empty] | Video |  | OCP2.0 Slot G3x16 |  | USB3 |  | lan02 j2 | USB2 |  | Gen4x16 (MESA Riser Slot) |  | Gen4x16 |  |  | Gen4x8 |  | Gen4x16 |  | Gen4x16 |  | Gen3x8 shares b/w slot 1 |  | Gen3x16 runs x8 w/slot 2 in
USB3
CN (SH-SVR-3264) ( Gigabyte H262-Z61) PN
Compute Nodes - cn-xxxx
CS-MLNX-N3GE100-C5-1P
| Riser Slot 01 (Gen4-x16) |  |  |  | 100g01 j1 | [5 empty] | Empty
|  | USB 3.0 x2 |  | OCP Mezzanine Card Slot | [5 empty] | VGA |  |  | lan02 j2 | lan01 j1 |  | MGMT j3
Front View
|  |  |  | Node 1 - Drive Slot 00 |  | Node 1 - Drive Slot 01 | Node 1 - Drive Slot 02 |  | Node 1 - Drive Slot 03 |  | Node 1 - Drive Slot 04 |  | Node 1 - Drive Slot 05 | Node 2 - Drive Slot 00 | Node 2 - Drive Slot 01 |  | Node 2 - Drive Slot 02 | Node 2 - Drive Slot 03 | Node 2 - Drive Slot 04 | Node 2 - Drive Slot 05 | Node 3 - Drive Slot 00 |  | Node 3 - Drive Slot 01 |  | Node 3 - Drive Slot 02 | Node 3 - Drive Slot 03 |  | Node 3 - Drive Slot 04 | Node 3 - Drive Slot 05 | Node 4 - Drive Slot 00 |  | Node 4 - Drive Slot 01 | Node 4 - Drive Slot 02 | Node 4 - Drive Slot 03 | Node 4 - Drive Slot 04 |  | Node 4 - Drive Slot 05
| Node 1 | [37 empty] | Node 3
| Node 2 | [37 empty] | Node 4
|  |  |  | Node 1 Drive Bays | [9 empty] | Node 2 Drive Bays | [6 empty] | Node 3 Drive Bays | [8 empty] | Node 4 Drive Bays
|  |  |  | Rear View |  |  |  | SH-SVR-3264
|  |  | Node Layout Diagram |  | PSU 02 (C19 Plug Required) |  |  |  | Node 3 | [14 empty] | Node 1
|  |  | CMC LAN Ports |  | PSU 01 (C19 Plug Required) |  |  |  | Node 4 | [14 empty] | Node 2
XC-XGT-48P-DL2 Ethernet switch (Dell S4048-ON)
XC-XGE-48P-DL2 Ethernet switch (Dell S3048-ON)
CS-XGE40-MLNX-2100-16
Cray Slingshot Switches
|  | SH-XSS-200G-64P | [7 empty] | SLINGSHOT 200G 64 PORTS SWITCH, POWER-SIDE TO PORT-SIDE AIRFLOW
|  | SH-XSS-200G-64P-R | [7 empty] | SLINGSHOT 200G 64 PORTS SWITCH, PORT-SIDE TO POWER-SIDE AIRFLOW
Columbia TOR (Frontside View)
CS-KVM-8P
Note this KVM requires the following parts be added: 1) A 1G cable to the Management network to access it. (Number 5 below) 2) A Dell Interface Module/Dongle (PN 101980100 )to connect to the USB/VGA port on the server.(Number 10 below) 3) A 1G cable from above dongle to KVM switch. (Number 9 below) 4) A C13-C14 Power cord ( Number 2 below)

## Site Layout YAML
# Gamora
#
# One River cabinet connected to a Hill cabinet.
#
# 9.9.19 update
# changed River cabinet to conform to the 9-NCN (Kubernetes) standard.
#
#-------------------------------------------------------------------------------
# unique system build templates
#
# templates for the non-standard parts of this system, typically I/O cabinets.
#
templates:
cabinet_builds:
- template: my_service_cab
mount_direction: back
cabinet_component: riv
build:
# # Gigabyte Compute
# - component: SH-SVR-3264-EX_1nic
# fill_slots: [28-29]
# UAN
- component: SH-SVR-1264-DP_2nic
fill_slots: [26-27]
# Columbia
- component: columbia_v1_1spg
fill_slots: [24]
- component: SH-SVR-3264-EX_1nic
fill_slots: [19-20]
# Kubernetes Storage
- component: SH-SVR-1264-DP_1nic
fill_slots: [13-18]
# Kubernetes Worker
- component: SH-SVR-1264-DP_2nic
fill_slots: [7-12]
# Kubernetes Master
- component: SH-SVR-1264-DP_1nic
fill_slots: [1-6]
groups:
- template: my_service_group
cabinet_component: riv
edge_mapping_mode: dynamic
local_mapping_mode: dynamic
group_by: rack_slots
groups:
- slots_in_group: [7-12, 19-20, 24, 26-27]
#-------------------------------------------------------------------------------
# cabinet layout (rows, troughs, etc)
#
cabinet_layout:
indiv_cabinets:
- cabinet_id: x3000
template: my_service_cab
# Troughs
#
troughs:
indiv:
- unit: ft
value: 32
from_cabinet: x3000
from_side: back
#-------------------------------------------------------------------------------
# group definitions
#
groups:
- template: my_service_group
apply_to_cabinets: [x3000]
type: service
#-------------------------------------------------------------------------------
# Bundle sizes
#
bundle_sizes:
local:
- group_type: service
bundle_size: 1
global:
- from_group_type: service
to_group_type: service
bundle_size: 1

## pt_pt (SCT)
cable_id | src_conn_a | src_conn_b | dst_conn_a | dst_conn_b | stage | src_egress_a | src_egress_b | dst_egress_a | dst_egress_b | link_type | src_group | dst_group | part_number | part_length | calculated_distance | route
3000.3000.00.0001 | x3000.c0.r24.j12 | none | x3000.c0.s09.b0.n0.h0 | x3000.c0.s09.b0.n0.h1 | 1 | none | none | none | none | edge | 0 | n/a | 102234601 | 1.5 | 1.3736 | []
3000.3000.00.0000 | x3000.c0.r24.j14 | none | x3000.c0.s07.b0.n0.h0 | x3000.c0.s07.b0.n0.h1 | 1 | none | none | none | none | edge | 0 | n/a | 102234601 | 1.5 | 1.4364 | []
3000.3000.00.0003 | x3000.c0.r24.j8 | none | x3000.c0.s19.b2.n0.h0 | x3000.c0.s19.b4.n0.h0 | 1 | none | none | none | none | edge | 0 | n/a | 102234600 | 1 | 0.88733 | []
3000.3000.00.0002 | x3000.c0.r24.j10 | none | x3000.c0.s11.b0.n0.h0 | x3000.c0.s11.b0.n0.h1 | 1 | none | none | none | none | edge | 0 | n/a | 102234601 | 1.5 | 1.3078 | []
3000.3000.00.0005 | x3000.c0.r24.j4 | none | x3000.c0.s26.b0.n0.h0 | x3000.c0.s26.b0.n0.h1 | 1 | none | none | none | none | edge | 0 | n/a | 102234600 | 1 | 0.86962 | []
3000.3000.00.0004 | x3000.c0.r24.j6 | none | x3000.c0.s19.b1.n0.h0 | x3000.c0.s19.b3.n0.h0 | 1 | none | none | none | none | edge | 0 | n/a | 102234600 | 1 | 0.72123 | []
clusterstor01 | x3000.c0.r24.j18 | none | x7000.c0.s00.j25 | none | 1 | none | none | none | none | edge | 1 | 1 | N/A | N/A | N/A
clusterstor02 | x3000.c0.r24.j20 | none | x7000.c0.s01.j25 | none | 1 | none | none | none | none | edge | 1 | 1 | N/A | N/A | N/A
clusterstor03 | x3000.c0.r24.j26 | none | x7000.c0.s00.j23 | none | 1 | none | none | none | none | edge | 1 | 1 | N/A | N/A | N/A
clusterstor04 | x3000.c0.r24.j16 | none | x7000.c0.s00.j24 | none | 1 | none | none | none | none | edge | 1 | 1 | N/A | N/A | N/A
clusterstor05 | x3000.c0.r24.j24 | none | x7000.c0.s01.j23 | none | 1 | none | none | none | none | edge | 1 | 1 | N/A | N/A | N/A
clusterstor06 | x3000.c0.r24.j22 | none | x7000.c0.s01.j24 | none | 1 | none | none | none | none | edge | 1 | 1 | N/A | N/A | N/A

## 40G_10G
40G SFP Operational Network
Cable Requirement
| Desc. | Mkt Code |  | Part No. | Qty
1 | 40G-Mell-CU-1M | CS-KGT-MLNX-CU-QS-001M |  | 101110600 | 0
2 | 40G-Mell-CU-2M | CS-KGT-MLNX-CU-QS-002M |  | 101110601 | 0
|  |  |  | Total= | 0
40G SFP Routing Table
Label Info (2 lines)
| Source | Source | Destination | Destination | Description | Part Number |  | Source | Rack | Location | Slot | Port | Destination | Rack | Location | Port
| mn01 | x3000u01s1-j0 | x3000u23L-j1 | sw-spine-001 | 40G-CU-2M | 101110601 | 4 | mn01 | x3000 | u01 | pcie-slot1 | 1 | sw-spine-001 | x3000 | u23L | 1
| mn01 | x3000u01s1-j1 | x3000u23R-j1 | sw-spine-002 | 40G-CU-2M | 101110601 | 3 | mn01 | x3000 | u01 | pcie-slot1 | 2 | sw-spine-002 | x3000 | u23R | 1
| mn02 | x3000u03s1-j0 | x3000u23L-j2 | sw-spine-001 | 40G-CU-2M | 101110601 | 3 | mn02 | x3000 | u03 | pcie-slot1 | 1 | sw-spine-001 | x3000 | u23L | 2
| mn02 | x3000u03s1-j1 | x3000u23R-j2 | sw-spine-002 | 40G-CU-2M | 101110601 | 2 | mn02 | x3000 | u03 | pcie-slot1 | 2 | sw-spine-002 | x3000 | u23R | 2
| mn03 | x3000u05s1-j0 | x3000u23L-j3 | sw-spine-001 | 40G-CU-2M | 101110601 | 2 | mn03 | x3000 | u05 | pcie-slot1 | 1 | sw-spine-001 | x3000 | u23L | 3
| mn03 | x3000u05s1-j1 | x3000u23R-j3 | sw-spine-002 | 40G-CU-2M | 101110601 |  | mn03 | x3000 | u05 | pcie-slot1 | 2 | sw-spine-002 | x3000 | u23R | 3
| wn01 | x3000u07s1-j0 | x3000u23L-j4 | sw-spine-001 | 40G-CU-2M | 101110601 |  | wn01 | x3000 | u07 | pcie-slot1 | 1 | sw-spine-001 | x3000 | u23L | 4
| wn01 | x3000u07s1-j1 | x3000u23R-j4 | sw-spine-002 | 40G-CU-2M | 101110601 |  | wn01 | x3000 | u07 | pcie-slot1 | 2 | sw-spine-002 | x3000 | u23R | 4
| wn02 | x3000u09s1-j0 | x3000u23L-j5 | sw-spine-001 | 40G-CU-2M | 101110601 |  | wn02 | x3000 | u09 | pcie-slot1 | 1 | sw-spine-001 | x3000 | u23L | 5
| wn02 | x3000u09s1-j1 | x3000u23R-j5 | sw-spine-002 | 40G-CU-2M | 101110601 |  | wn02 | x3000 | u09 | pcie-slot1 | 2 | sw-spine-002 | x3000 | u23R | 5
| wn03 | x3000u11s1-j0 | x3000u23L-j6 | sw-spine-001 | 40G-CU-2M | 101110601 |  | wn03 | x3000 | u11 | pcie-slot1 | 1 | sw-spine-001 | x3000 | u23L | 6
| wn03 | x3000u11s1-j1 | x3000u23R-j6 | sw-spine-002 | 40G-CU-2M | 101110601 |  | wn03 | x3000 | u11 | pcie-slot1 | 2 | sw-spine-002 | x3000 | u23R | 6
| sn01 | x3000u13s1-j0 | x3000u23L-j7 | sw-spine-001 | 40G-CU-2M | 101110601 |  | sn01 | x3000 | u13 | pcie-slot1 | 1 | sw-spine-001 | x3000 | u23L | 7
| sn01 | x3000u13s1-j1 | x3000u23R-j7 | sw-spine-002 | 40G-CU-2M | 101110601 |  | sn01 | x3000 | u13 | pcie-slot1 | 2 | sw-spine-002 | x3000 | u23R | 7
| sn02 | x3000u15s1-j0 | x3000u23L-j8 | sw-spine-001 | 40G-CU-2M | 101110601 |  | sn02 | x3000 | u15 | pcie-slot1 | 1 | sw-spine-001 | x3000 | u23L | 8
| sn02 | x3000u15s1-j1 | x3000u23R-j8 | sw-spine-002 | 40G-CU-2M | 101110601 |  | sn02 | x3000 | u15 | pcie-slot1 | 2 | sw-spine-002 | x3000 | u23R | 8
| sn03 | x3000u17s1-j0 | x3000u23L-j9 | sw-spine-001 | 40G-CU-2M | 101110601 |  | sn03 | x3000 | u17 | pcie-slot1 | 1 | sw-spine-001 | x3000 | u23L | 9
| sn03 | x3000u17s1-j1 | x3000u23R-j9 | sw-spine-002 | 40G-CU-2M | 101110601 |  | sn03 | x3000 | u17 | pcie-slot1 | 2 | sw-spine-002 | x3000 | u23R | 9
| uan01 | x3000u26s1-j0 | x3000u23L-j11 | sw-spine-001 | 40G-CU-2M | 101110601 |  | uan01 | x3000 | u26 | pcie-slot1 | 1 | sw-spine-001 | x3000 | u23L | 11
| uan01 | x3000u26s1-j1 | x3000u23R-j11 | sw-spine-002 | 40G-CU-2M | 101110601 |  | uan01 | x3000 | u26 | pcie-slot1 | 2 | sw-spine-002 | x3000 | u23R | 11
| sw-spine-001 | x3000u23L-j9 | x3000u23R-j10 | sw-spine-002 | 40G-CU-2M | 101110601 |  | sw-spine-001 | x3000 | u23L |  | 10 | sw-spine-002 | x3000 | u23R | 10
| sw-spine-001 | x3000u23L-j11 | x3000u23R-j12 | sw-spine-002 | 40G-CU-2M | 101110601 |  | sw-spine-001 | x3000 | u23L |  | 12 | sw-spine-002 | x3000 | u23R | 12
| sw-leaf-bmc-001 | x3000u22-j50 | x3000u23L-j15 | sw-spine-001 | 10G-CU-2M | 080-00675A |  | sw-leaf-bmc-001 | x3000 | u22 |  | 51 | sw-spine-001 | x3000 | u23L | 15
| sw-leaf-bmc-001 | x3000u22-j51 | x3000u23R-j15 | sw-spine-002 | 10G-CU-2M | 080-00675A |  | sw-leaf-bmc-001 | x3000 | u22 |  | 52 | sw-spine-002 | x3000 | u23R | 15
| sw-spine-001 |  | cfcanb1s1 (port 8) | Cray Site Connect |  |  |  | sw-spine-001 | x3000 | u23L |  | 16 | Cray Site Connect | SITE | SITE | 0
| sw-spine-002 |  | cfcanb1s1 (port 20) | Cray Site Connect |  |  |  | sw-spine-002 | x3000 | u23R |  | 16 | Cray Site Connect | SITE | SITE | 0

## NMN
Ethernet Operational Network
Cable Requirement
| Desc. | Mkt Code |  | Part No. | Qty
1 | ETH-7FT-BLUE | CS-KGE-PAND-STP-PL-002M1 |  | 100982102 | 13
| ETH-7FT-WHITE | NA |  | 080-00127J | 0
2 | ETH-10FT-BLUE | NA |  | 080-00095H | 0
3 | ETH-3FT-BLUE | NA |  | 100982100 | 0
|  |  |  | Total= | 13
Ethernet Routing Table
Label Info (2 lines)
| Source | Source | Destination | Destination | Description | Part Number | Source | Rack | Location | Slot | Port | Destination | Rack | Location | Port
| mn01 | x3000u01-j1 |  | Cray Site Connect |  |  | mn01 | x3000 | u01 | onboard | 1 | Cray Site Connect | SITE | SITE | 0
| mn02 | x3000u03-j1 | x3000u22-j3 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | mn02 | x3000 | u03 | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 3
| mn03 | x3000u05-j1 | x3000u22-j4 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | mn03 | x3000 | u05 | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 4
| wn01 | x3000u07-j1 | x3000u22-j2 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | wn01 | x3000 | u07 | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 2
| wn02 | x3000u09-j1 | x3000u22-j5 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | wn02 | x3000 | u09 | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 5
| wn03 | x3000u11-j1 | x3000u22-j6 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | wn03 | x3000 | u11 | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 6
| sn01 | x3000u13-j1 | x3000u22-j7 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | sn01 | x3000 | u13 | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 7
| sn02 | x3000u15-j1 | x3000u22-j8 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | sn02 | x3000 | u15 | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 8
| sn03 | x3000u17-j1 | x3000u22-j9 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | sn03 | x3000 | u17 | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 9
| nid000001 | x3000u20R-j1 | x3000u22-j10 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | nid000001 | x3000 | u20R | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 10
| nid000002 | x3000u19R-j1 | x3000u22-j11 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | nid000002 | x3000 | u19R | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 11
| nid000003 | x3000u20L-j1 | x3000u22-j12 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | nid000003 | x3000 | u20L | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 12
| nid000004 | x3000u19L-j1 | x3000u22-j13 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | nid000004 | x3000 | u19L | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 13
| uan01 | x3000u26-j1 | x3000u22-j15 | sw-leaf-bmc-001 | ETH-7FT-BLUE | 100982102 | uan01 | x3000 | u26 | onboard | 1 | sw-leaf-bmc-001 | x3000 | u22 | 15
VLAN 2
VLAN 3
VLAN 4
MTN 0
MTN 1
MTN 2
MTN 3
MTN 3
Production style connections
in the future

## HMN
Ethernet Management Network
Cable Requirement
| Desc. | Mkt Code |  | Part No. | Qty
1 | ETH-10FT-WHITE | NA |  | 080-00095H | 0
2 | ETH-7FT-WHITE | NA |  | 080-00127J | 16
|  |  |  | Total= | 16
Ethernet Routing Table
Label Info (2 lines)
| Source | Source | Destination | Destination | Description | Part Number | Source | Rack | Location |  | Parent | Slot | Port | Destination | Rack | Location | Port
| mn01 | x3000u01-j3 |  | Cray Site Connect |  |  | mn01 | x3000 | u01 |  |  | bmc | 1 | Cray Site Connect | SITE | SITE | 0
| mn02 | x3000u03-j3 | x3000u22-p26 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | mn02 | x3000 | u03 |  |  | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 26
| mn03 | x3000u05-j3 | x3000u22-p27 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | mn03 | x3000 | u05 |  |  | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 27
| wn01 | x3000u07-j3 | x3000u22-p25 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | wn01 | x3000 | u07 |  |  | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 25
| wn02 | x3000u09-j3 | x3000u22-p28 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | wn02 | x3000 | u09 |  |  | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 28
| wn03 | x3000u11-j3 | x3000u22-p29 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | wn03 | x3000 | u11 |  |  | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 29
| sn01 | x3000u13-j3 | x3000u22-p30 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | sn01 | x3000 | u13 |  |  | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 30
| sn02 | x3000u15-j3 | x3000u22-p31 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | sn02 | x3000 | u15 |  |  | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 31
| sn03 | x3000u17-j3 | x3000u22-p32 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | sn03 | x3000 | u17 |  |  | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 32
| nid000001 | x3000u20R-j3 | x3000u22-p33 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | nid000001 | x3000 | u20 | R | SubRack-001-cmc | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 33
| nid000002 | x3000u19R-j3 | x3000u22-p34 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | nid000002 | x3000 | u19 | R | SubRack-001-cmc | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 34
| nid000003 | x3000u20L-j3 | x3000u22-p35 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | nid000003 | x3000 | u20 | L | SubRack-001-cmc | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 35
| nid000004 | x3000u19L-j3 | x3000u22-p36 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | nid000004 | x3000 | u19 | L | SubRack-001-cmc | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 36
| SubRack-001-cmc | x3000u19-cmc | x3000u22-p38 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | SubRack-001-cmc | x3000 | u19 |  |  | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 38
| UAN | x3000u26-j3 | x3000u22-p37 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | uan01 | x3000 | u26 |  |  | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 37
| Columbia | x3000u24-mgmt | x3000u22-p48 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | sw-hsn-01 | x3000 | u24 |  |  | mgmt | 1 | sw-leaf-bmc-001 | x3000 | u22 | 48
| x3000p0 | x3000p0-j1 | x3000u22-p39 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | x3000p0 | x3000 | p0 |  |  | bmc | 1 | sw-leaf-bmc-001 | x3000 | u22 | 39

## PDU
PDU Power Cabling |  |  | Temperature and Humidity Probes get installed two on front side and two on back side. Installed middle top and middle bottom of rack.
Cable Requirement
| Desc. | Mkt Code |  | Part No. | Qty
1 | C14-C13-1M2 | CS-APC-KPWR-C14-13-1M2 |  | 085-00251A | 4
2 | C14-C13-1M5 | CS-APC-KPWR-C14-13-1M5 |  | 085-00218A | 10
3 | C19-C20-1M0 | N/A |  | 100894300 | 0
|  |  |  | Total= | 14
PDU Routing Table
Label Info (2 lines)
| Source | Source | Destination | Destination | Description | Part Number |  |  | ServerTech
Rack1 | [6 empty] | CM Key |  | CS-ST-PDU-208V-3PD-60A-36
1 | opsw02 | r01u41-p01 | pdu1-0-xy01 | pdu1-0 | C14-C13-1M2 | 085-00251A | pdu1-0-xy* | 3 | CS36CA-DQME2766/Z1 Water Tight 3Phase 50/60A
2 | opsw02 | r01u41-p02 | pdu1-1-xy01 | pdu1-1 | C14-C13-1M2 | 085-00251A | pdu1-0-yz* | 2
3 | rc02 | r01u40-p01 | pdu1-0-yz01 | pdu1-0 | C14-C13-1M2 | 085-00251A | pdu1-0-zx* | 2 |  | Port Naming
4 | rc02 | r01u40-p02 | pdu1-1-yz01 | pdu1-1 | C14-C13-1M2 | 085-00251A | pdu1-1-xy* | 3 |  | Port | Type
5 | r01u39 | r01u39 | pdu1-0-zx01 | pdu1-0 | C14-C13-1M5 | 085-00218A | pdu1-1-yz* | 2 |  | xy01 | C13
6 | r01u38 | r01u38 | pdu1-1-zx01 | pdu1-1 | C14-C13-1M5 | 085-00218A | pdu1-1-zx* | 2 |  | yz01 | C13
7 | sms01 | r01u36-p01 | pdu1-0-xy02 | pdu1-0 | C14-C13-1M5 | 085-00218A |  |  |  | zx01 | C13
8 | sms01 | r01u36-p02 | pdu1-1-xy02 | pdu1-1 | C14-C13-1M5 | 085-00218A |  |  |  | xy02 | C13
9 | ssn01 | r01u34-p01 | pdu1-0-yz02 | pdu1-0 | C14-C13-1M5 | 085-00218A |  |  |  | yz02 | C13
10 | ssn01 | r01u34-p02 | pdu1-1-yz02 | pdu1-1 | C14-C13-1M5 | 085-00218A |  |  |  | zx02 | C13
11 | uan01 | r01u32-p01 | pdu1-0-zx02 | pdu1-0 | C14-C13-1M5 | 085-00218A |  |  |  | xy03 | C13
12 | uan01 | r01u32-p02 | pdu1-1-zx02 | pdu1-1 | C14-C13-1M5 | 085-00218A |  |  |  | yz03 | C13
13 | gwn01 | r01u30-p01 | pdu1-0-xy03 | pdu1-0 | C14-C13-1M5 | 085-00218A |  |  |  | zx03 | C13
14 | gwn01 | r01u30-p02 | pdu1-1-xy03 | pdu1-1 | C14-C13-1M5 | 085-00218A |  |  |  | xy04 | C13
[10 empty] | yz04 | C13
[10 empty] | zx04 | C13
[10 empty] | xy05 | C19
[10 empty] | yz05 | C19
[10 empty] | zx05 | C19
[10 empty] | xy06 | C19
[10 empty] | yz06 | C19
[10 empty] | zx06 | C19
[10 empty] | xy07 | C13
[10 empty] | yz07 | C13
[10 empty] | zx07 | C13
[10 empty] | xy08 | C13
[10 empty] | yz08 | C13
[10 empty] | zx08 | C13
[10 empty] | xy09 | C13
[10 empty] | yz09 | C13
[10 empty] | zx09 | C13
[10 empty] | xy10 | C13
[10 empty] | yz10 | C13
[10 empty] | zx10 | C13
[10 empty] | xy11 | C19
[10 empty] | yz11 | C19
[10 empty] | zx11 | C19
[10 empty] | xy12 | C19
[10 empty] | yz12 | C19
[10 empty] | zx12 | C19
Pigtail
Not Updated